Processing and Visualization Functions

### Miroslav Morháč * ,1, 2

1 Institute of Physics, Slovak Academy of Sciences, Bratislava, Slovakia

2 Flerov Laboratory of Nuclear Reactions, JINR, Dubna, Russia

* E-mail : morhac@savba.sk

-BACKGROUND ELIMINATION

-SMOOTHING

-DECONVOLUTION, UNFOLDING

-PEAK SEARCHING

-FITTING

-TRANSFORMS

-VISUALIZATION

# BACKGROUND ELIMINATION

-1 DIMENSIONAL SPECTRA

This function calculates background spectrum from source spectrum.  The result is placed in the vector pointed by spectrum pointer.  On successful completion it returns 0. On error it returns pointer to the string describing error.

char *Background1(float *spectrum, int size, int number_of_iterations);

Function parameters:

-spectrum-pointer to the vector of source spectrum

-size-length of spectrum

-number_of_iterations or width of the clipping window

The function allows to separate useless spectrum information (continuous background) from peaks, based on Sensitive Nonlinear Iterative Peak Clipping Algorithm. In fact it represents second order difference filter (-1,2,-1). The basic algorithm is described in detail in [1], [2].

where p can be changed

- from 1 up to a given parameter value w by incrementing it in each iteration step by 1-INCREASING CLIPPING  WINDOW

- from a given value w by decrementing it in each iteration step by 1- DECREASING CLIPPING WINDOW

An example of the original spectrum and estimated background (INCREASING CLIPPING WINDOW) is given in the Fig 1.

Fig. 1

One can notice that on the edges of the peaks the estimated background goes under the peaks. An alternative approach is to decrease the clipping window from a given value to the value of one (DECREASING CLIPPING WINDOW). Then the result obtained is given in the Fig 2.

Fig. 2

The estimated background is smoother. The method does not deform the shape of peaks.

However sometimes the shape of the background is very complicated. The second order filter is insufficient. Let us illustrate such a case in the Fig 3. The forth order background estimation filter gives better estimate of complicated background (the clipping window w=10).

Fig 3.

4-th order algorithm ignores linear as well as cubic component of the background. In this case the filter is (1,-4,6,-4,1). In general the allowed values for the order of the filter are 2, 4, 6, 8. An example of the same spectrum estimated with the clipping window w=40 and with filters of the orders 2, 4, 6, 8 is given in the Fig. 3a.

Fig. 3a.

Sometimes it is necessary to include also the Compton edges into the estimate of the background. In Fig. 4 we present the example of the synthetic spectrum with Compton edges. The background was estimated using the 8-th order filter with the estimation of the Compton edges and decreasing clipping window. In the lower part of the Figure we present the background, which was added to the synthetic spectrum. One can observe good coincidence with the estimated background. The method of the estimation of Compton edge is described in detail in [3].

Fig. 4

The generalized form of the algorithm is implemented in the function.

char *Background1General(float *spectrum,int size,int number_of_iterations,int direction,int filter_order,bool compton);

The meaning of the parameters is as follows:

-spectrum-pointer to the vector of source spectrum

-size-length of spectrum vector

-number_of_iterations-maximal width of clipping window,

-direction- direction of change of clipping window – possible values=BACK1_INCREASING_WINDOW

BACK1_DECREASING_WINDOW

-filter_order-order of clipping filter,-possible values=BACK1_ORDER2

BACK1_ORDER4                                         BACK1_ORDER6

BACK1_ORDER8

-compton- logical variable whether the estimation of Compton edge

will be included - possible values=BACK1_EXCLUDE_COMPTON

BACK1_INCLUDE_COMPTON

-2 DIMENSIONAL SPECTRA

This basic background estimation function allows to separate useless spectrum information (2D-continuous background and coincidences of peaks with background in both dimensions) from peaks. It calculates background spectrum from source spectrum.  The result is placed in the array pointed by spectrum pointer. On successful completion it returns 0. On error it returns pointer to the string describing error.

char *Background2(float **spectrum,int sizex,int sizey, int number_of_iterations);

Function parameters:

-spectrum-pointer to the array of source spectrum

-sizex-x length of spectrum

-sizey-y length of spectrum

-number_of_iterations, width of the clipping window

In Fig. 5 we present an example of 2-dimensional spectrum before background elimination.

Fig. 5

Estimated background is shown in Fig 6. After subtraction we get pure 2-dimensional peaks.

Fig. 6

Analogously to 1-dimensional case we have generalized also the function for 2-dimensional background estimation. Sometimes the width of peaks in both dimensions are different. As an example we can introduce n-gamma 2-dimensional spectra. Then it is necessary to set different widths of clipping window in both dimensions. In Fig 7 we give an example of such a spectrum.

Fig. 7

Spectrum after background estimation (clipping window 10 for x-direction, 20 for y- direction) and subtraction is given in Fig. 8.

Fig. 8

Background estimation can be carried out using the algorithm of successive comparisons [1] or .based on one-step filtering algorithm given by formula

Illustrating example is given in the following 3 Figures. In Fig 9 we present original (synthetic) 2-dimensional spectrum. In the Fig 10. we have spectrum after background elimination using successive comparisons algorithm and in Fig 11 after elimination using one-step filtering algorithm.

Fig. 9

Fig. 10

Fig. 11

One can notice artificial ridges in the spectrum in Fig 10. In the estimation using filtration algorithm this effect disappears. The general function for estimation of 2-dimensional background with rectangular ridges has the form

char *Background2RectangularRidges(float **spectrum,int sizex,int sizey,int number_of_iterations_x,int number_of_iterations_y,int direction,int filter_order,int filter_type);

This function calculates background spectrum from source spectrum. The result is placed to the array pointed by spectrum pointer.

Function parameters:

-spectrum-pointer to the array of source spectrum

-sizex-x length of spectrum

-sizey-y length of spectrum

-number_of_iterations_x-maximal x width of clipping window

-number_of_iterations_y-maximal y width of clipping window

-direction- direction of change of clipping window

- possible values=BACK2_INCREASING_WINDOW

BACK2_DECREASING_WINDOW

-filter_order-order of clipping filter,

-possible values=BACK2_ORDER2

BACK2_ORDER4

BACK2_ORDER6

BACK2_ORDER8

-filter_type-determines the algorithm of the filtering

-possible values=BACK2_SUCCESSIVE_FILTERING

BACK2_ONE_STEP_FILTERING

In what follows we describe a function to estimate continuous 2-dimensional background together with rectangular and skew ridges. In Fig. 12 we present a spectrum of this type.

Fig. 12

The goal is to remove rectangular as well as skew ridges from the spectrum and to leave only 2-dimensional coincidence peaks. After applying background elimination function and subtraction we get the two dimensional peaks presented in Fig. 13

Fig. 13

In Figs. 14 and 15 we present experimental spectrum with skew ridges and estimated background, respectively.

Fig. 14

Fig. 15

The function for the estimation of  background together with skew ridges has the form

char *Background2SkewRidges(float **spectrum,int sizex,int sizey,int number_of_iterations_x,int number_of_iterations_y,int direction,int filter_order);

The result is placed to the array pointed by spectrum pointer..

Function parameters:

-spectrum-pointer to the array of source spectrum

-sizex-x length of spectrum

-sizey-y length of spectrum

-number_of_iterations_x-maximal x width of clipping window

-number_of_iterations_y-maximal y width of clipping window

-direction- direction of change of clipping window

- possible values=BACK2_INCREASING_WINDOW

BACK2_DECREASING_WINDOW

-filter_order-order of clipping filter,

-possible values=BACK2_ORDER2

BACK2_ORDER4

BACK2_ORDER6

BACK2_ORDER8

Next we present the function that estimates the continuous background together with rectangular, and nonlinear ridges. To illustrate the data of such a form we present synthetic data shown in Fig. 16. The estimated background is given in Fig. 17. Pure Gaussian after subtracting the background from the original spectrum is shown in Fig. 18

Fig. 16

Fig. 17

Fig. 18

The function to estimate also the nonlinear ridges has the form

*Background2NonlinearRidges(float **spectrum,int sizex,int sizey,int number_of_iterations_x,int number_of_iterations_y,int direction,int filter_order);

The result is placed to the array pointed by spectrum pointer..

Function parameters:

-spectrum-pointer to the array of source spectrum

-sizex-x length of spectrum

-sizey-y length of spectrum

-number_of_iterations_x-maximal x width of clipping window

-number_of_iterations_y-maximal y width of clipping window

-direction- direction of change of clipping window

- possible values=BACK2_INCREASING_WINDOW

BACK2_DECREASING_WINDOW

-filter_order-order of clipping filter,

-possible values=BACK2_ORDER2

BACK2_ORDER4

BACK2_ORDER6

BACK2_ORDER8

The information contained in the skew ridges and non-linear ridges can be interesting and one may wish to separate it from the rectangular ridges. Therefore we have implemented also two functions allowing to estimate ridges only in the direction rectangular to x- axis and  y-axis. Let us have both rectangular and skew ridges from spectrum given in Fig. 12 estimated using above described function Background2SkewRidges   (Fig. 19).

Fig. 19

Now let us estimate ridges rectangular to x-axis and y-axis (Figs 20, 21)

Fig. 20

Fig. 21

After subtraction these data from spectrum  in Fig. 19, we get separated skew ridge given in Fig 22.

Fig. 22

The functions for estimation of 1-dimensional ridges in 2-dimensional spectra have the forms

char *Background2RectangularRidgesX(float **spectrum,int sizex,int sizey,int number_of_iterations,int direction,int filter_order);

Function parameters:

-spectrum-pointer to the array of source spectrum

-sizex-x length of spectrum

-sizey-y length of spectrum

-number_of_iterations-maximal x width of clipping window

-direction- direction of change of clipping window

- possible values=BACK2_INCREASING_WINDOW

BACK2_DECREASING_WINDOW

-filter_order-order of clipping filter,

-possible values=BACK2_ORDER2

BACK2_ORDER4

BACK2_ORDER6

BACK2_ORDER8

char *Background2RectangularRidgesY(float **spectrum,int sizex,int sizey,int number_of_iterations,int direction,int filter_order);

Function parameters:

-spectrum-pointer to the array of source spectrum

-sizex-x length of spectrum

-sizey-y length of spectrum

-number_of_iterations-maximal  width of clipping window

-direction- direction of change of clipping window

- possible values=BACK2_INCREASING_WINDOW

BACK2_DECREASING_WINDOW

-filter_order-order of clipping filter,

-possible values=BACK2_ORDER2

BACK2_ORDER4

BACK2_ORDER6

BACK2_ORDER8

# SMOOTHING

-1 DIMENSIONAL SPECTRA

The operation of the smoothing is based on the convolution of the original data with the filter of the type

(1,2,1)/4  -three points smoothing

(-3,12,17,12,-3)/35  -five points smoothing

(-2,3,6,7,6,3,-2)/21  -seven points smoothing

(-21,14,39,54,59,54,39,14,-21)/231  -nine points smoothing

(-36,9,44,69,84,89,84,69,44,9,-36)/429  -11 points smoothing

(-11,0,9,16,21,24,25,24,21,16,9,0,-11)/143  -13 points smoothing

(-78,-13,42,87,122,147,162,167,162,147,122,87,42,-13,-78)/1105  -15 points smoothing. The function for one-dimensional smoothing has the form

char *Smooth1(float *spectrum,int size,int points);

This function calculates smoothed spectrum from source spectrum. The result is placed in the vector pointed by spectrum pointer.

Function parameters:

-spectrum-pointer to the vector of source spectrum

-size-length of spectrum

-points-width of smoothing window

-allowed values- SMOOTH1_3POINTS

SMOOTH1_5POINTS

SMOOTH1_7POINTS

SMOOTH1_9POINTS

SMOOTH1_11POINTS

SMOOTH1_13POINTS

SMOOTH1_15POINTS

An example of 1-dimensional spectra smoothing and the influence of the filter width on the data is presented in Fig. 23

Fig. 23

-2 DIMENSIONAL SPECTRA

The smoothing of the two dimensional data is analogous to the one dimensional case. The width of filter can be chosen independently for each dimension. The form of the 2-D smoothing function is as follows

char *Smooth2(float **spectrum,int sizex,int sizey,int pointsx,int pointsy);

This function calculates smoothed spectrum from source spectrum. The result is placed in the array pointed by spectrum pointer.

Function parameters:

-spectrum-pointer to the array of source spectrum

-sizex-x length of spectrum

-sizey-y length of spectrum

-pointsx,pointsy-width of smoothing window

-allowed values- SMOOTH2_3POINTS

SMOOTH2_5POINTS

SMOOTH2_7POINTS

SMOOTH2_9POINTS

SMOOTH2_11POINTS

SMOOTH2_13POINTS

SMOOTH2_15POINTS

An example of 2-D original data and data after smoothing is given in Figs. 24, 25.

Fig. 24

Fig. 25

# PEAK SEARCHING

-1 DIMENSIONAL SPECTRA

The basic function of the 1-dimensional peak searching is in detail described in [4], [5]. It allows to identify automatically the peaks in a spectrum with the presence of the continuous background and statistical fluctuations - noise. The algorithm is based on smoothed second differences that are compared to its standard deviations. Therefore it is necessary to pass a parameter of sigma to the peak searching function. The algorithm is selective to the peaks with the given sigma. The form of the basic peak searching function is

Int_t       Search1(const float *spectrum,int size,double sigma);

#### This function searches for peaks in source spectrum	The number of found peaks and their positions are written into structure pointed by one_dim_peak structure pointer.

Function parameters:

-source-pointer to the vector of source spectrum

-p-pointer to the one_dim_peak structure pointer

-size-length of source spectrum

-sigma-sigma of searched peaks

#### The structure one_dim_peak has the form

struct one_dim_peak{

int number_of_peaks;

double position[MAX_NUMBER_OF_PEAKS1];

};

An example of simple one-dimensional spectrum with identified peaks is given in Fig. 26.

Fig. 26

An example of 1-dimensional experimental spectrum with many identified peaks is given in Fig. 27.

Fig. 27

However when we have noisy data the number of peaks can be enormous. One such an example is given in Fig. 28. Therefore it can be useful to have possibility to set a threshold value and to consider only the peaks higher than this threshold (see Fig. 29, only three peaks were  identified, threshold=50.)  The value in the center of the peak value[i] minus the average value in two symmetrically positioned channels (channels i-3*sigma, i+3*sigma) must be greater than threshold. Otherwise the peak is ignored.

Fig. 28

Fig. 29

An alternative approach was proposed in [6].. The algorithm generates new invariant spectrum based on discrete Markov chains. In this spectrum the noise is suppressed, the spectrum is smoother than the original one. On the other hand it emphasizes peaks (depending on the averaging window). The example of the part of original noisy spectrum and Markov spectrum for window=3 is given in Fig. 30 Then the peaks can found in Markov spectrum using standard above presented algorithm.

Fig. 30

The form of the generalized peak searching function is as follows.

Int_t Search1General(float *spectrum,int size,float sigma,int threshold,bool markov,int aver_window);

This function searches for peaks in source spectrum. The number of found peaks and their positions are written into structure pointed by one_dim_peak structure pointer.

Function parameters:

-source-pointer to the vector of source spectrum

source spectrum is replaced by new spectrum calculated

using Markov chains method.

-p-pointer to the one_dim_peak structure pointer

-size-length of source spectrum

-sigma-sigma of searched peaks

-threshold-threshold value for selecting of peaks

-markov-logical variable, if it is true, first the source spectrum

is replaced by new spectrum calculated using Markov

chains method.

-aver_window-averaging window used in calculation of Markov spectrum, applies

only for markov variable is true

The methods of peak searching are sensitive to the sigma. Usually the sigma value is known beforehand. It also changes only slightly with the energy. We have investigated as well the robustness of the proposed algorithms to the spectrum with the peaks with sigma changing from 1 to 10 (see Fig. 31).

Fig. 31

We applied peak searching algorithm based on Markov approach. We changed sigma in the interval from 1 to 10. The spectra for averaging windows 3, 5, 10 are shown in Fig. 32.

Fig. 32

When we applied peak searching function to the Markov spectrum averaged with the window=10, we obtained correct estimate of all 10 peak positions for sigma=2,3,4,5,6,7,8. It was not the case when we made the same experiment with the original spectrum. For all sigmas some peaks were not discovered.

-2 DIMENSIONAL SPECTRA

The basic function of the 2-dimensional peak searching is in detail described in [4].. It identifies automatically the peaks in a spectrum with the presence of the continuous background, statistical fluctuations as well as coincidences of background in one dimension and peak in the other one-ridges. The form of the basic function of 2-dimensional peak searching is

Int_t       Search2(const float **source,int sizex,int sizey,double sigma);

This function searches for peaks in source spectrum	.The number of found peaks and their positions are written into structure pointed by two_dim_peak structure pointer.

Function parameters:

-source-pointer to the vector of source spectrum

-p-pointer to the two_dim_peak structure pointer

-sizex-x length of source spectrum

-sizey-y length of source spectrum

-sigma-sigma of searched peaks

An example of the two-dimensional spectrum with the identified peaks is shown in Fig. 33.

Fig. 33

We have also generalized the peak searching function analogously to one dimensional data. The generalized peak searching function for two dimensional spectra has the form

Int_t Search2General(float **source,int sizex,int sizey,double sigma,int threshold,bool markov,int aver_window);

This function searches for peaks in source spectrum. The number of found peaks and their positions are written into structure pointed by two_dim_peak structure pointer.

Function parameters:

-source-pointer to the vector of source spectrum

-p-pointer to the two_dim_peak structure pointer

-sizex-x length of source spectrum

-sizey-y length of source spectrum

-sigma-sigma of searched peaks

-threshold-threshold value for selection of peaks

- markov-logical variable, if it is true, first the source spectrum

is replaced by new spectrum calculated using Markov

chains method.

-aver_window-averaging window of searched peaks (applies only for Markov

method)

An example of experimental 2-dimensional spectrum is given in Fig. 34. The number of peaks identified by the function now is 295.

Fig. 34

The function works even for very noisy data. In Fig. 35 we present synthetic 2-dimensional spectrum with 5 peaks. The method should recognize what is real 2-dimensional peak and what is the crossing of two 1-dimensional ridges The Markov spectrum with averaging window=3 is given in Fig. 36. One can observe that this spectrum is smoother than the original one. After applying the general peak searching function to the Markov spectrum with sigma=2, and threshold=600, we get correctly identified peaks.

Fig. 35

Fig. 36

# DECONVOLUTION - UNFOLDING

-1 DIMENSIONAL SPECTRA

Mathematical formulation of the convolution system is

where h(i) is the impulse response function, x, y are input and output vectors,

respectively, N is the length of x and h vectors. In matrix form we have

Let us assume that we know the response and the output vector (spectrum) of the above given system. The deconvolution represents solution of the overdetermined system of linear equations, i.e., the calculation of the vector x.

The goal of the deconvolution methods is to improve the resolution in the spectrum and to decompose multiplets. From mathematical point of view the operation of deconvolution is extremely critical as well as time consuming operation. From all the methods studied the Gold deconvolution (decomposition) proved to work as the best one. It is suitable to process positive definite data (e.g. histograms). In detail the method is described in [7], [8].

## Gold deconvolution algorithm

- proved to work as the best, other methods (Fourier, VanCittert etc) oscillate

The basic function has the form

char *Deconvolution1(float *source,const float *resp,int size, int number_of_iterations);

This function calculates deconvolution from source spectrum 	according to response spectrum.

Function parameters:						   */

-source-pointer to the vector of source spectrum

-resp-pointer to the vector of response spectrum

-size-length of source and response spectra

-number_of_iterations, for details see [8]

As an illustration of the method let us introduce small example. In Figs. 37 we present original 1-dimensional spectrum. It contains multiplets that cannot be directly analyzed. The response function (one peak) is given in Fig. 38. We assume the same response function (not changing the shape) along the entire energy scale. So the response matrix is composed of mutually shifted response functions by one channel, however of the same shape.

Fig. 37

Fig. 38

The result after deconvolution is given in Fig. 39. It substantially improves the resolution in the spectrum.

Fig. 39

We have developed a new high resolution deconvolution algorithm. We have observed that the Gold deconvolution converges to its stable state (solution). It is useless to increase the number of iterations, the result obtained does not change. To continue in decreasing the width of peaks we have found that when the solution reaches its stable state it is necessary to stop iterations, then to change the vector in a way and repeat again the Gold deconvolution . We have found that to change the particular solution we need to apply non-linear boosting function to it. The power function proved to give the best results. At the beginning the function calculates exact solution of the Toeplitz system of linear equations.

Then it applies the Gold deconvolution algorithm to the solution and carries out preset number of iterations. Then the power function with the exponent equal to the boosting coefficient is applied to the deconvolved data. These data are then used as initial estimate of the solution of linear system of equations and again the Gold algorithm is employed. The whole procedure is repeated number_of_repetitions times.

The form of the high-resolution deconvolution function is

char *Deconvolution1HighResolution(float *source,const float *resp,int size,int number_of_iterations,int number_of_repetitions,double boost);

This function calculates deconvolution from source spectrum	   according to response spectrum					   */

The result is placed in the vector pointed by source pointer.

Function parameters:						   */

-source-pointer to the vector of source spectrum

-resp-pointer to the vector of response spectrum

-size-length of source and response spectra

-number_of_iterations, for details we refer to manual

-number_of_repetitions, for details we refer to manual

-boost, boosting factor, for details we refer to manual

The result obtained using the data from Figs. 37, 38 and applying the high resolution deconvolution is given in Fig. 40. It decomposes the peaks even more (practically to 1, 2 channels).

Fig. 40

Another example of synthetic data is given in Fig. 41. We have positioned the two peaks very close to each other (2 channels). The method of high resolution deconvolution has decomposed these peaks practically to one channel. The original data are shown as polyline, the data after deconvolution as bars. The numbers at the bars denote the heights of bars and the numbers in parenthesis the original area of peaks. The area of original peaks is concentrated into one channel.

Fig. 41

Up to now we assumed that the shape of the response is not changing. However the method of Gold decomposition can be utilized also for the decomposition of input data (unfolding) with completely different responses. The form of the unfolding function is as follows

char *Deconvolution1Unfolding(float *source,const float **resp,int sizex,int sizey,int number_of_iterations);

This function unfolds source spectrum according to response matrix columns. The result is placed in the vector pointed by source pointer.

Function parameters:

-source-pointer to the vector of source spectrum

-resp-pointer to the matrix of response spectra

-sizex-length of source spectrum and # of rows of response matrix

-sizey- # of columns of response matrix

-number_of_iterations

Note!!! sizex must be >= sizey. After decomposition the resulting channels are written back to the first sizey channels of the source spectrum.

The example of the response matrix composed of the responses of different chemical elements is given in Fig. 42

Fig. 42

The original spectrum before unfolding is given in Fig. 43. The obtained coefficients after unfolding, i.e., the contents of the responses in the original spectrum is presented in the Fig. 44.

Fig. 43

Fig. 44

Another example where we have used unfolding method is the decomposition of continuum of gamma-ray spectra. Using simulation and interpolation techniques we have synthesized the response matrix (size 3400x3400 channels) of Gammasphere spectrometer (Fig. 45). Its detail is presented in Fig. 46. The original spectrum of Co56 before and after continuum decomposition are presented in Figs 47, 48, respectively.

Fig. 45

Fig. 46

Fig. 47

Fig. 48

-2 DIMENSIONAL SPECTRA

We have extended the method of Gold deconvolution also for 2-dimensional data. Again the goal of the deconvolution methods is to improve the resolution in the spectrum and to decompose multiplets. In detail the method of optimized 2-dimensional deconvolution is described in [8].

Mathematical formulation of 2-dimensional convolution system is as follows

Assuming we know the output spectrum y and the response spectrum h,  the task is to calculate the matrix x.

The basic function has the form

char *Deconvolution2(float **source,const float **resp,int sizex,int sizey,int niter);

This function calculates deconvolution from source spectrum according to response spectrum. The result is placed in the matrix pointed by source pointer.

Function parameters:

-source-pointer to the matrix of source spectrum

-resp-pointer to the matrix of response spectrum

-sizex-x length of source and response spectra

-sizey-y length of source and response spectra

-number_of_iterations, for details see [8]

The example of 2-dimensional spectrum before deconvolution is presented in Fig. 49. In the process of deconvolution we have used the response matrix (one peak shifted to the beginning of the coordinate system) given in Fig. 50. Employing the Gold deconvolution algorithm implemented in the decon2 function we get the result shown in Fig. 51. One can notice that the peaks became narrower thus improving the resolution in the spectrum.

Fig. 49

Fig. 50

Fig. 51

Analogously to 1-dimensional case we have developed high-resolution 2-dimensional deconvolution. From the beginning the exact solution of the cyclic convolution 2-dimensional system is calculated. Then we apply the repeated deconvolution with boosting in the same way like in 1- dimensional case. The form of the high-resolution 2-dimensional deconvolution function is

char *Deconvolution2HighResolution(float** source,const float** resp,int sizex,int sizey,int number_of_iterations,int number_of_repetitions,double boost);

This function calculates deconvolution from source spectrum

according to response spectrum

The result is placed in the matrix pointed by source pointer.

Function parameters:

-source-pointer to the matrix of source spectrum

-resp-pointer to the matrix of response spectrum

-sizex-x length of source and response spectra

-sizey-y length of source and response spectra

-number_of_iterations

-number_of_repetitions

-boost, boosting factor

When we apply this function to the data from Fig. 49 using response matrix given in Fig. 50 we get the result shown in Fig. 52. It is apparent that the high-resolution deconvolution decomposes the input data even more than the original Gold deconvolution.

Fig. 52

# FITTING

A lot of algorithms have been developed (Gauss-Newton, Levenber-Marquart conjugate gradients, etc.) and more or less successfully implemented into programs for analysis of complex spectra. They are based on matrix inversion that can impose appreciable convergence difficulties mainly for large number of fitted parameters. Peaks can be fitted separately, each peak (or multiplets) in a region or together all peaks in a spectrum. To fit separately each peak one needs to determine the fitted region. However it can happen that the regions of neighboring peaks are overlapping (mainly in 2-dimensional spectra). Then the results of fitting are very poor. On the other hand, when fitting together all peaks found in a  spectrum, one needs to have a method that is  stable (converges) and fast enough to carry out fitting in reasonable time. The gradient methods based on the inversion of large matrices are not applicable because of two reasons

- calculation of inverse matrix is extremely time consuming;

- due to accumulation of  truncation and rounding-off errors the result can become worthless.

We have implemented two kinds of fitting functions. The first approach is based on the algorithm without matrix inversion [9]-awmi algorithm. It allows to fit large blocks of data and large number of parameters.

The other one is based on calculation of the system of linear equations using Stiefel-Hestens method [10]. It converges faster than awmi algorithm, however it is not suitable to fit large number of parameters.

-1 DIMENSIONAL SPECTRA

- the quantity to be minimized in the fitting procedure for one dimensional spectrum is defined as :

,

where  is the channel in the fitted spectrum,  is the number of channels in the fitting subregion, is the number of free parameters,  is the content of the i-th channel, is a vector of the parameters being fitted and  is a fitting or peak shape function.

Instead of the weighting coefficient  in the denominator of the above given formula one can use also the value of . It is suitable for data with poor statistics [11],  [12].

The third statistic to be optimized, which is implemented in the fitting functions is Maximum Likelihood Method. It is of the choice of the user to select suitable statistic..

- after differentiating we obtain the following  simultaneous equations

,

- in γ-ray spectra we have to fit together tens, hundreds of peaks simultaneously that represent sometimes thousands of parameters.

- the calculation of the inversion matrix of such a size is practically impossible.

- the awmi method is based on the assumption that off-diagonal terms in the matrix A are equal to zero.

,

where the error in the channel  is  and

if the process is convergent or  if it is divergent.  Another possibility is to optimize this coefficient.

- the error of -th parameter estimate is

.

- algorithm with higher powers w=1,2,3...

.

- we have implemented the nonsymmetrical semiempirical peak shape function.

- it contains the symmetrical Gaussian as well as nonsymmetrical terms.

where  are relative amplitudes and  is a slope.

Detailed description of the algorithm is given in [13].

The fitting function implementing the algorithm without matrix inversion has the form

char* Fit1Awmi(float *source, TSpectrumOneDimFit* p,int size);

This function fits the source spectrum. The calling program should  fill in input parameters of the one_dim_fit structure The fitted parameters are written into structure pointed by one_dim_fit structure pointer and fitted data are written into source spectrum.

Function parameters:

-source-pointer to the vector of source spectrum

-p-pointer to the one_dim_fit structure pointer

-size-length of source spectrum

The one_dim_fit structure has the form

class TSpectrumOneDimFit{

public:

int number_of_peaks     //input parameter, should be>0

int number_of_iterations     //input parameter, should be >0

int xmin    //first fitted channel

int xmax   //last fitted channel

double alpha   //convergence coefficient, input parameter, it should be

//positive number and <=1

double chi   //here the function returns resulting chi square

int statistic_type   //type of statistics, possible values

//FIT1_OPTIM_CHI_COUNTS (chi square statistics with

//counts as weighting coefficients),

//FIT1_OPTIM_CHI_FUNC_VALUES (chi square statistics

//with function values as weighting

//coefficients)

//FIT1_OPTIM_MAX_LIKELIHOOD

int alpha_optim  //optimization of convergence coefficients, possible values

//FIT1_ALPHA_HALVING,

// FIT1_ALPHA_OPTIMAL

int power            //possible values FIT1_FIT_POWER2,4,6,8,10,12

int fit_taylor   //order of Taylor expansion, possible values

//FIT1_TAYLOR_ORDER_FIRST,

//FIT1_TAYLOR_ORDER_SECOND

double position_init[MAX_NUMBER_OF_PEAKS1] //initial values of

//peaks positions, input parameters

double position_calc[MAX_NUMBER_OF_PEAKS1] //calculated values

//of fitted positions, output parameters

double position_err[MAX_NUMBER_OF_PEAKS1] //position errors

bool fix_position[MAX_NUMBER_OF_PEAKS1] //logical vector which

//allows to fix appropriate positions (not fit). However they

//are present in the estimated functional

double amp_init[MAX_NUMBER_OF_PEAKS1]//initial values of peaks

// amplitudes, input parameters

double amp_calc[MAX_NUMBER_OF_PEAKS1] //calculated values of

//fitted amplitudes, output parameters

double amp_err[MAX_NUMBER_OF_PEAKS1] //amplitude errors

bool fix_amp[MAX_NUMBER_OF_PEAKS1] //logical vector, which

//allows to fix appropriate amplitudes (not fit). However they

//are present in the estimated functional

double area[MAX_NUMBER_OF_PEAKS1] //calculated areas of peaks

double area_err[MAX_NUMBER_OF_PEAKS1] //errors of peak areas

double sigma_init //sigma parameter, see peak shape function

double sigma_calc;

double sigma_err;

bool fix_sigma;

double t_init //t parameter, , see peak shape function

double t_calc;

double t_err;

bool fix_t;

double b_init //b parameter, , see peak shape function

double b_calc;

double b_err;

bool fix_b;

double s_init //s parameter, , see peak shape function

double s_calc;

double s_err;

bool fix_s;

double a0_init//backgroud is estimated as a0+a1*x+a2*x*x

double a0_calc;

double a0_err;

bool fix_a0;

double a1_init;

double a1_calc;

double a1_err;

bool fix_a1;

double a2_init;

double a2_calc;

double a2_err;

bool fix_a2;

};

As an example we present simple 1-dimensional synthetic spectrum with 5 peaks. The fit obtained using above given awmi fitting function is given in Fig. 53. The chi-square achieved in this fit was 0.76873. The input value of the fit (positions of peaks and their amplitudes) were estimated using peak searching function.

Fig. 53

Let us go to more complicated fit with lot of overlapping peaks Fig. 54. The initial positions of peaks were determined from original data, using peak searching function. The fit is not very good, as there are some peaks missing.

Fig. 54

However to analyze the spectrum we can proceed in completely different way employing the sophisticated functions of background elimination and deconvolution. First let us remove background from the original raw data. We get spectrum given in Fig. 55.

Fig. 55

Then we can apply the Gold deconvolution function to these data. We obtain result presented in Fig. 56.

Fig. 56

Using peaks searching method, looking just for local maxima, (sigma=0) with appropriate threshold (50), we can estimate initial positions of peaks for fitting function. After the fit of the original experimental spectrum (with background) we obtain the result shown in Fig. 57. Now the fitted function corresponds much better to experimental values

Fig. 57

We have implemented also the fitting function with matrix inversion based on Stiefel-Hestens method of the solution of the system of linear equations. The form of the function is as follows

char* Fit1Stiefel(float *source, TSpectrumOneDimFit* p,int size);

This function fits the source spectrum. The calling program should  fill in input parameters of the one_dim_fit structure The fitted parameters are written into structure pointed by one_dim_fit structure pointer and fitted data are written into source spectrum.

Function parameters:

-source-pointer to the vector of source spectrum

-p-pointer to the one_dim_fit structure pointer

-size-length of source spectrum

The structure one_dim_fit is the same as in awmi function. The parameters power, fit_taylor are not applicable for this function

The results for small number of fitted parameters are the same as with awmi function. However it converges faster. The example for data given in Fig.53 is given in the following table:

# of iterations             Chi awmi                     Chi-Stiefel

-------------------------------------------------------------------

1                                  924                              89.042

5                                  773.15                         0.96242

10                                38.13                           0.77041

50                                0.90293                       0.76873

100                              0.76886                       0.76873

500                              0.76873                       0.76873

-2 DIMENSIONAL SPECTRA

- it is straightforward that for two dimensional spectra one can write

- analogously for two dimensional peaks we have chosen the peak shape function of the following form

.

The meaning of the parameters is analogous to 1-dimensional case. Again all the details can be found in [13]

The fitting function implementing the algorithm without matrix inversion for 2-dimensional data has the form

char* Fit2Awmi(float **source, TSpectrumTwoDimFit* p,int sizex,int sizey);

This function fits the source spectrum. The calling program should   fill in input parameters of the two_dim_fit structure  The fitted parameters are written into structure pointed by two_dim_fit structure pointer and fitted data are written back into source spectrum.

Function parameters:

-source-pointer to the matrix of source spectrum

-p-pointer to the two_dim_fit structure pointer, see manual

-sizex-length x of source spectrum

-sizey-length y of source spectrum

The two_dim_fit structure has the form

class TSpectrumTwoDimFit{

public:

int number_of_peaks;//input parameter, shoul be>0

int number_of_iterations;//input parameter, should be >0

int xmin;//first fitted channel in x direction

int xmax;//last fitted channel in x direction

int ymin;//first fitted channel in y direction

int ymax;//last fitted channel in y direction

double alpha;//convergence coefficient, input parameter, it should be positive

//number and <=1

double chi; //here the function returns resulting chi square

int statistic_type; //type of statistics, possible values

//FIT2_OPTIM_CHI_COUNTS (chi square statistics with

//counts as weighting coefficients),

//FIT2_OPTIM_CHI_FUNC_VALUES (chi square statistics

//with function values as weighting

//coefficients),FIT2_OPTIM_MAX_LIKELIHOOD

int alpha_optim;//optimization of convergence coefficients, possible values

//FIT2_ALPHA_HALVING, FIT2_ALPHA_OPTIMAL

int power;//possible values FIT21_FIT_POWER2,4,6,8,10,12

int fit_taylor;//order of Taylor expansion, possible values

//FIT2_TAYLOR_ORDER_FIRST,

//FIT2_TAYLOR_ORDER_SECOND

double position_init_x[MAX_NUMBER_OF_PEAKS2];//initial values of x

//positions of 2D peaks, input parameters

double position_calc_x[MAX_NUMBER_OF_PEAKS2];//calculated values

//of fitted x positions of 2D peaks, output parameters

double position_err_x[MAX_NUMBER_OF_PEAKS2];//x position errors of

//2D peaks

bool fix_position_x[MAX_NUMBER_OF_PEAKS2];//logical vector which

//allows to fix appropriate x positions of 2D peaks (not fit).

//However they are present in the estimated functional

double position_init_y[MAX_NUMBER_OF_PEAKS2];//initial values of y

//positions of 2D peaks, input parameters

double position_calc_y[MAX_NUMBER_OF_PEAKS2];//calculated values

//of fitted y positions of 2D peaks, output parameters

double position_err_y[MAX_NUMBER_OF_PEAKS2];//y position errors of

//2D peaks

bool fix_position_y[MAX_NUMBER_OF_PEAKS2];//logical vector which

//allows to fix appropriate y positions of 2D peaks (not fit).

//However they are present in the estimated functional

double position_init_x1[MAX_NUMBER_OF_PEAKS2];//initial values of x

//positions of 1D ridges, input parameters

double position_calc_x1[MAX_NUMBER_OF_PEAKS2];//calculated values

//of fitted x positions of 1D ridges, output parameters

double position_err_x1[MAX_NUMBER_OF_PEAKS2];//x position errors of

//1D ridges

bool fix_position_x1[MAX_NUMBER_OF_PEAKS2];//logical vector which

//allows to fix appropriate x positions of 1D ridges (not fit).

//However they are present in the estimated functional

double position_init_y1[MAX_NUMBER_OF_PEAKS2];//initial values of y

//positions of 1D ridges, input parameters

double position_calc_y1[MAX_NUMBER_OF_PEAKS2];//calculated values

//of fitted y positions of 1D ridges, output parameters

double position_err_y1[MAX_NUMBER_OF_PEAKS2];//y position errors of

//1D ridges

bool fix_position_y1[MAX_NUMBER_OF_PEAKS2];//logical vector which

//allows to fix appropriate y positions of 1D ridges (not fit).

//However they are present in the estimated functional

double amp_init[MAX_NUMBER_OF_PEAKS2];//initial values of 2D peaks

// amplitudes, input parameters

double amp_calc[MAX_NUMBER_OF_PEAKS2];//calculated values of

//fitted amplitudes of 2D peaks, output parameters

double amp_err[MAX_NUMBER_OF_PEAKS2];//amplitude errors of 2D

//peaks

bool fix_amp[MAX_NUMBER_OF_PEAKS2];//logical vector which allows

//to fix appropriate amplitudes of 2D peaks (not fit). However

//they are present in the estimated functional

double amp_init_x1[MAX_NUMBER_OF_PEAKS2];//initial values of 1D

//ridges amplitudes, input parameters

double amp_calc_x1[MAX_NUMBER_OF_PEAKS2];//calculated values of

//fitted amplitudes of 1D ridges, output parameters

double amp_err_x1[MAX_NUMBER_OF_PEAKS2];//amplitude errors of 1D

//ridges

bool fix_amp_x1[MAX_NUMBER_OF_PEAKS2];//logical vector which

//allows to fix appropriate amplitudes of 1D ridges (not fit).

//However they are present in the estimated functional

double amp_init_y1[MAX_NUMBER_OF_PEAKS2];//initial values of 1D

//ridges amplitudes, input parameters

double amp_calc_y1[MAX_NUMBER_OF_PEAKS2];//calculated values of

//fitted amplitudes of 1D ridges, output parameters

double amp_err_y1[MAX_NUMBER_OF_PEAKS2];//amplitude errors of 1D

//ridges

bool fix_amp_y1[MAX_NUMBER_OF_PEAKS2];//logical vector which

//allows to fix appropriate amplitudes of 1D ridges (not fit).

//However they are present in the estimated functional

double volume[MAX_NUMBER_OF_PEAKS1];//calculated volumes of

//peaks

double volume_err[MAX_NUMBER_OF_PEAKS1];//errors of peak volumes

double sigma_init_x;//sigma x parameter

double sigma_calc_x;

double sigma_err_x;

bool fix_sigma_x;

double sigma_init_y;//sigma y parameter

double sigma_calc_y;

double sigma_err_y;

bool fix_sigma_y;

double ro_init;// correlation coefficient

double ro_calc;

double ro_err;

bool fix_ro;

double txy_init;//t parameter for 2D peaks

double txy_calc;

double txy_err;

bool fix_txy;

double sxy_init;//s parameter for 2D peaks

double sxy_calc;

double sxy_err;

bool fix_sxy;

double tx_init;//t parameter for 1D ridges (x direction)

double tx_calc;

double tx_err;

bool fix_tx;

double ty_init;//t parameter for 1D ridges (y direction)

double ty_calc;

double ty_err;

bool fix_ty;

double sx_init;//s parameter for 1D ridges (x direction)

double sx_calc;

double sx_err;

bool fix_sx;

double sy_init;//s parameter for 1D ridges (y direction)

double sy_calc;

double sy_err;

bool fix_sy;

double bx_init;//b parameter for 1D ridges (x direction)

double bx_calc;

double bx_err;

bool fix_bx;

double by_init;//b parameter for 1D ridges (y direction)

double by_calc;

double by_err;

bool fix_by;

double a0_init;//backgroud is estimated as a0+ax*x+ay*y

double a0_calc;

double a0_err;

bool fix_a0;

double ax_init;

double ax_calc;

double ax_err;

bool fix_ax;

double ay_init;

double ay_calc;

double ay_err;

bool fix_ay;

};

The example of the original spectrum and the fitted spectrum is given in Figs. 58, 59, respectively. We have fitted 5 peaks. Each peak was represented by 7 parameters, which together with sigmax, sigmay and b0 resulted in 38 parameters. The chi-square after 1000 iterations was 0.6571.

Fig. 58

Fig. 59

The awmi algorithm can be applied also to large blocks of data and large number of peaks. In the next example we present spectrum with identified 295 peaks. Each peak is represented by 7 parameters, which together with sigmax, y and b0 resulted in 2068 fitted parameters. The original spectrum and fitted function are given in Figs. 60, 61, respectively. The achieved chi-square was 0.76732.

Fig. 60

Fig. 61

We have implemented the fitting function with matrix inversion based on Stiefel-Hestens method of the solution of the system of linear equations also for 2-dimensional data. The form of the function is as follows

char* Fit2Stiefel(float **source, TSpectrumTwoDimFit* p,int sizex,int sizey);

This function fits the source spectrum. The calling program should   fill in input parameters of the two_dim_fit structure  The fitted parameters are written into structure pointed by two_dim_fit structure pointer and fitted data are written back into source spectrum.

Function parameters:

-source-pointer to the matrix of source spectrum

-p-pointer to the two_dim_fit structure pointer, see manual

-sizex-length x of source spectrum

-sizey-length y of source spectrum

The structure two_dim_fit is the same as in awmi function. The parameters power, fit_taylor are not applicable for this function

The results for small number of fitted parameters are the same as with awmi function. However it converges faster. The example for data given in Fig.58 (38 parameters) is presented in the following table:

# of iterations             Chi awmi                     Chi-Stiefel

-------------------------------------------------------------------

1                                  24.989                         10.415

5                                  20.546                         1.0553

10                                6.256                           0.84383

50                                1.0985                         0.64297

100                              0.6571                         0.64297

500                              0.65194                       0.64297

Again Stiefel-Hestens method converges faster. However its calculation is for this number of parameters approximately 3 times longer. For larger number of parameters the time needed to calculate the inversion grows with the cube of the number of fitted parameters. For example the fit of large number of parameters (2068) for data  in Fig. 60 using awmi algorithm lasted about 12 hours (using 450 MHz PC). The calculation using matrix inversion method is not realizable in reasonable time.

# TRANSFORMS

-1 DIMENSIONAL SPECTRA

Orthogonal transforms can be successfully used for the processing of nuclear spectra . They can be used to remove high frequency noise, to increase signal-to-background ratio as well as to enhance low intensity components [14]. We have implemented also the function for the calculation of the commonly used orthogonal transforms

- Haar

- Walsh

- Cos

- Sin

- Fourier

- Hartley

Between these transform one can define so called generalized mixed transforms that are also implemented in the transform function

- Fourier-Haar

- Fourier-Walsh

- Walsh-Haar

- Cos-Walsh

- Cos-Haar

- Sin-Walsh

- Sin-Haar

The suitability of the application of appropriate transform depends on the character of the data, i.e., on the shape of dominant components contained in the data. The form of the transform function is as follows:

char *Transform1(const float *source,float *dest,int size,int type,int direction,int degree);

This function transforms the source spectrum. The calling program  should fill in input parameters. Transformed data are written into dest spectrum.

Function parameters:

-source-pointer to the vector of source spectrum, its length should

be equal to size parameter except for inverse FOURIER, FOUR-WALSh, FOUR-HAAR   transform. These need 2*size length to supply real and

imaginary coefficients.

-dest-pointer to the vector of dest data, its length should be equal to size parameter

except for direct FOURIER, FOUR-WALSh, FOUR-HAAR. These

need 2*size length to store real and imaginary coefficients

-size-basic length of source and dest spectra

-type-type of transform

- TRANSFORM1_HAAR

- TRANSFORM1_WALSH

- TRANSFORM1_COS

- TRANSFORM1_SIN

- TRANSFORM1_FOURIER

- TRANSFORM1_HARTLEY

- TRANSFORM1_FOURIER_WALSH

- TRANSFORM1_FOURIER_HAAR

- TRANSFORM1_WALSH_HAAR

- TRANSFORM1_COS_WALSH

- TRANSFORM1_COS_HAAR

- TRANSFORM1_SIN_WALSH

- TRANSFORM1_SIN_HAAR

-direction-transform direction (forward, inverse)

- TRANSFORM1_FORWARD

- TRANSFORM1_INVERSE

-degree-applies only for mixed transforms

Let us illustrate the applications of the transform using an example. In Fig. 63 we have spectrum with many peaks, complicated background and high level of noise.

Fig. 62

In Figs. 63, 64, 65 we present this spectrum transformed using Haar, Walsh and Cosine transforms, respectively.

Fig. 63

Fig. 64

Fig. 65

Haar transforms (Fig. 63) creates clusters of data. These coefficients can be analyzed and then filtered, enhanced etc. On the other hand Walsh transform (Fig. 64) concentrates the dominant components near to zero of the coordinate system. It is more suitable to process data of rectangular shape (e.g. in the field of digital signal processing). Finally Cosine transform concentrates in the best way the transform coefficients to the beginning of the coordinate system. From the point of view of the variance distribution it is sometimes called suboptimal. One can notice that approximately one half of the coefficients are negligible. This fact can be utilized to the compression purposes (in two or more dimensional data), filtering (smoothing) etc.

We have implemented several application functions utilizing the properties of the orthogonal transforms. Let us start with zonal filtration function. It has the form.

char *Filter1Zonal(const float *source,float *dest,int size,int type,int degree,int xmin, int xmax,float filter_coeff);

This function transforms the source spectrum. The calling program should fill in input parameters. Then it sets transformed coefficients in the given region (xmin, xmax) to the given filter_coeff and transforms it back  Filtered data are written into dest spectrum.

Function parameters:

-source-pointer to the vector of source spectrum, its length should

be size

-dest-pointer to the vector of dest data, its length should be

size

-size-basic length of source and dest spectra

-type-type of transform

- TRANSFORM1_HAAR

- TRANSFORM1_WALSH

- TRANSFORM1_COS

- TRANSFORM1_SIN

- TRANSFORM1_FOURIER

- TRANSFORM1_HARTLEY

- TRANSFORM1_FOURIER_WALSH

- TRANSFORM1_FOURIER_HAAR

- TRANSFORM1_WALSH_HAAR

- TRANSFORM1_COS_WALSH

- TRANSFORM1_COS_HAAR

- TRANSFORM1_SIN_WALSH

- TRANSFORM1_SIN_HAAR

-degree-applied only for mixed transforms

-xmin-low limit of filtered region

-xmax-high limit of filtered region

-filter_coeff-value which is set in filtered region

An example of the filtration using Cosine transform is given in the Fig. 66. It illustrates a part of the spectrum from Fig. 62 and two spectra after filtration preserving 2048 coefficients and 1536 coefficients. One can observe very good fidelity of the overall shape of both spectra with the original data. However some distortion can be observed in details of the second spectrum after filtration preserving only 1536 coefficients. The useful information in the transform domain can be compressed into one half of the original space.

Fig. 66

In the transform domain one can also enhance (multiply with the constant > 1) some regions. In this way one can change peak-to-background ratio. This function has the form

char *Enhance1(const float *source,float *dest,int size,int type,int degree,int xmin, int xmax,float enhance_coeff);

This function transforms the source spectrum. The calling program  should fill in input parameters. Then it multiplies transformed coefficients in the given region (xmin, xmax) by the given enhance_coeff and transforms it back  Processed data are written into dest spectrum.

Function parameters:

-source-pointer to the vector of source spectrum, its length should

be size

-dest-pointer to the vector of dest data, its length should be

size

-size-basic length of source and dest spectra

-type-type of transform

- TRANSFORM1_HAAR

- TRANSFORM1_WALSH

- TRANSFORM1_COS

- TRANSFORM1_SIN

- TRANSFORM1_FOURIER

- TRANSFORM1_HARTLEY

- TRANSFORM1_FOURIER_WALSH

- TRANSFORM1_FOURIER_HAAR

- TRANSFORM1_WALSH_HAAR

- TRANSFORM1_COS_WALSH

- TRANSFORM1_COS_HAAR

- TRANSFORM1_SIN_WALSH

- TRANSFORM1_SIN_HAAR

-degree-applied only for mixed transforms

-xmin-low limit of filtered region

-xmax-high limit of filtered region

-enhance_coeff-value by which the filtered region is multiplied

An example of enhancement of the coefficients from region 380-800 by the constant 2 in the Cosine transform domain is given in the Fig. 68. The determination of the region is a matter of analysis in the appropriate transform domain. We assumed that low frequency components are placed in the low coefficients. As it can be observed the enhancement changes the peak-to-background ratio.

Fig. 68

-2 DIMENSIONAL SPECTRA

Analogously to1-dimensional data we have implemented the transforms also for 2-dimensional data. Besides of the classic orthogonal transforms

- Haar

- Walsh

- Cos

- Sin

- Fourier

- Hartley

- Fourier-Haar

- Fourier-Walsh

- Walsh-Haar

- Cos-Walsh

- Cos-Haar

- Sin-Walsh

- Sin-Haar

char *Transform2(const float **source,float **dest,int sizex,int sizey,int type,int direction,int degree);

This function transforms the source spectrum. The calling program should fill in input parameters. Transformed data are written into dest spectrum.

Function parameters:

-source-pointer to the matrix of source spectrum, its size should

be sizex*sizey except for inverse FOURIER, FOUR-WALSH, FOUR-HAAR

transform. These need sizex*2*sizey length to supply real and  imaginary

coefficients.

-dest-pointer to the matrix of destination data, its size should be

sizex*sizey except for direct FOURIER, FOUR-WALSh, FOUR-HAAR.

These need sizex*2*sizey length to store real and imaginary coefficients

-sizex,sizey-basic dimensions of source and dest spectra

-type-type of transform

- TRANSFORM2_HAAR

- TRANSFORM2_WALSH

- TRANSFORM2_COS

- TRANSFORM2_SIN

- TRANSFORM2_FOURIER

- TRANSFORM2_HARTLEY

- TRANSFORM2_FOURIER_WALSH

- TRANSFORM2_FOURIER_HAAR

- TRANSFORM2_WALSH_HAAR

- TRANSFORM2_COS_WALSH

- TRANSFORM2_COS_HAAR

- TRANSFORM2_SIN_WALSH

- TRANSFORM2_SIN_HAAR

-direction-transform direction (forward, inverse)

-degree-applies only for mixed transforms

An example of the 2-dimensional Cosine transform of data from Fig. 58 is given in Fig. 69. One can notice that the data are concentrated again around the beginning of the coordinate system. This allows to apply filtration, enhancement and compression techniques in the transform domain.

Fig. 69

In some cases when the spectrum is smooth the cosine transforms are very efficient. In Figs 71, 72 we show original spectrum and transformed coefficients using Cosine transform, respectively.

Fig. 71

Fig. 72

Analogously to 1-dimensional case we have implemented also the functions for zonal filtration, Gauss filtration and enhancement. The zonal filtration function using classic transforms has the form

char *Filter2Zonal(const float **source,float **dest,int sizex,int sizey,int type,int degree,int xmin, int xmax,int ymin,int ymax,float filter_coeff);

This function transforms the source spectrum. The calling program should fill in input parameters. Then it sets transformed coefficients in the given region to the given                                   filter_coeff and transforms it back Filtered data are written into dest spectrum.

Function parameters:

-source-pointer to the matrix of source spectrum, its size should

be sizex*sizey

-dest-pointer to the matrix of destination data, its size should be

sizex*sizey

-sizex,sizey-basic dimensions of source and dest spectra

-type-type of transform

- TRANSFORM2_HAAR

- TRANSFORM2_WALSH

- TRANSFORM2_COS

- TRANSFORM2_SIN

- TRANSFORM2_FOURIER

- TRANSFORM2_HARTLEY

- TRANSFORM2_FOURIER_WALSH

- TRANSFORM2_FOURIER_HAAR

- TRANSFORM2_WALSH_HAAR

- TRANSFORM2_COS_WALSH

- TRANSFORM2_COS_HAAR

- TRANSFORM2_SIN_WALSH

- TRANSFORM2_SIN_HAAR

-degree-applies only for mixed transforms

-xmin-low limit x of filtered region

-xmax-high limit x of filtered region

-ymin-low limit y of filtered region

-ymax-high limit y of filtered region

-filter_coeff-value which is set in filtered region

The enhancement function using transforms has the form

char *Enhance2(const float **source,float **dest,int sizex,int sizey,int type,int degree,int xmin, int xmax,int ymin,int ymax,float enhance_coeff);

This function transforms the source spectrum. The calling program should fill in input parameters. Then it multiplies transformed coefficients in the given region by the given enhance_coeff and transforms it back

Function parameters:

-source-pointer to the matrix of source spectrum, its size should

be sizex*sizey

-dest-pointer to the matrix of destination data, its size should be

sizex*sizey

-sizex,sizey-basic dimensions of source and dest spectra

-type-type of transform

- TRANSFORM2_HAAR

- TRANSFORM2_WALSH

- TRANSFORM2_COS

- TRANSFORM2_SIN

- TRANSFORM2_FOURIER

- TRANSFORM2_HARTLEY

- TRANSFORM2_FOURIER_WALSH

- TRANSFORM2_FOURIER_HAAR

- TRANSFORM2_WALSH_HAAR

- TRANSFORM2_COS_WALSH

- TRANSFORM2_COS_HAAR

- TRANSFORM2_SIN_WALSH

- TRANSFORM2_SIN_HAAR

-degree-applies only for mixed transforms

-xmin-low limit x of filtered region

-xmax-high limit x of filtered region

-ymin-low limit y of filtered region

-ymax-high limit y of filtered region

-enhance_coeff-value which is set in filtered region

# VISUALIZATION

-1 DIMENSIONAL SPECTRA

The 1-dimensional visualization function displays spectrum (or part of it) on the Canvas of a form. Before calling the function one has to fill in one_dim_pic structure containing all parameters of the display. The function has the form

char *display1(struct one_dim_pic* p);

This function displays the source spectrum on Canvas. All parameters are grouped in one_dim_pic structure. Before calling display1 function the structure should be filled in and the address of one_dim_pic passed as parameter to display1 function. The meaning of appropriate parameters is apparent from description of one_dim_pic structure. The constants , which can be used for appropriate parameters are defined in procfunc.h header file.

struct one_dim_pic {

float *source;//spectrum to be displayed

TCanvas *Canvas;//Canvas where the spectrum will be displayed

int size;//size of source spectrum

int xmin;//x-starting channel of spectrum

int xmax;//x-end channel of spectrum

int ymin;//base counts

int ymax;//count full scale

int bx1;//positon of picture on Canvas, min x

int bx2;//positon of picture on Canvas, max x

int by1;//positon of picture on Canvas, min y

int by2;//positon of picture on Canvas, max y

int display_mode;//spectrum display mode (points, polyline, bars, rainbow,

//steps, bezier)

int y_scale;//y scale (linear, log, sqrt)

int levels;//# of color levels for rainbow display mode, it does not apply for other

//display modes

float rainbow1_step;//determines the first color component  step for neighbouring

//color levels, applies only for rainbow display mode

float rainbow2_step;//determines the second component  color step for

//neighbouring color levels, applies only for rainbow display mode

float rainbow3_step;//determines the third component  color step for

//neighbouring  color levels, applies only for rainbow display mode

int color_alg;//applies only for rainbow display mode (rgb smooth algorithm, rgb

//modulo color component, cmy smooth algorithm, cmy modulo color

//component, cie smooth algorithm, cie modulo color component, yiq

//smooth algorithm, yiq modulo color component, hsv smooth //algorithm, hsv modulo color component [15]

int bar_thickness;//applies only for bar display mode

int bar_empty_flag;//(empty bars, full bars) applies only for bar display mode

int border_color;//color of background of the picture

int full_border;// decides whether background is painted

int raster_en_dis;// decides whether the axes and rasters are shown

int raster_long;// decides whether the rasters are drawn as long lines

int raster_color; //color of the rasters

char *raster_description_x;//x axis description

char *raster_description_y;//y axis description

int pen_color;//color of spectrum

int pen_dash;//style of pen

int pen_width;//width of line

int chanmark_style;//style of channel marks

int chanmark_width;//width of channel marks

int chanmark_height;//height of channel marks

int chanmark_en_dis;// decides whether the channel marks are shown

int chanmark_color;//color of channel marks

//auxiliary variables, transform coefficients, for internal use only

double mx;

double my;

double px;

double py;

//auxiliary internal variables, working place

double gbezx,gbezy;

TPoint bz[4];

};

The examples using different display parameters are shown in the next few Figs.

Fig. 74

Fig. 74-display mode -polyline, width of pen=3

Fig. 75

Fig. 75- display mode- bars, shown channel marks

Fig. 76

Fig. 76-display mode- steps, log scale, shown channel marks

Fig. 77

Fig. 77-display mode -Bezier curve interpolation, shown channel marks

Fig. 78

Fig. 78-display mode- rainbow bars, color algorithm (model) RGB, #number of color levels=1024, pen width=3

Fig. 79

Fig. 79-display mode-empty bars, color algorithm YIQ, #number of color levels 2048

-2 DIMENSIONAL SPECTRA

The 2-dimensional visualization function displays spectrum (or part of it) on the Canvas of a form. Before calling the function one has to fill in two_dim_pic structure containing all parameters of the display. The function has the form

char *display2(struct two_dim_pic* p);

This function displays the source two dimensional spectrum on Canvas. All  parameters are grouped in two_dim_pic structure. Before calling display2 function the structure should be filled in and the address of two_dim_pic passed as parameter to display2 function. The meaning of appropriate parameters is apparent from description of one_dim_pic structure. The constants , which can be used for appropriate parameters are defined in procfunc.h header file.

struct two_dim_pic {

float **source;//source spectrum to be displayed

TCanvas *Canvas;//Canvas where the spectrum will be displayed

int sizex;//x-size of source spectrum

int sizey;//y-size of source spectrum

int xmin;//x-starting channel of spectrum

int xmax;//x-end channel of spectrum

int ymin;//y-starting channel of spectrum

int ymax;//y-end channel of spectrum

int zmin;//base counts

int zmax;//counts full scale

int bx1;//positon of picture on Canvas, min x

int bx2;//positon of picture on Canvas, max x

int by1;//positon of picture on Canvas, min y

int by2;//positon of picture on Canvas, max y

int mode_group;//display mode algorithm group (simple modes-

//PICTURE2_MODE_GROUP_SIMPLE, modes with shading

//according to light-PICTURE2_MODE_GROUP_LIGHT, modes with

//shading according to channels counts-

//PICTURE2_MODE_GROUP_HEIGHT, modes of combination of

//shading according to light and to channels counts-

//PICTURE2_MODE_GROUP_LIGHT_HEIGHT)

int display_mode;//spectrum display mode (points, grid, contours, bars, x_lines,

//y_lines, bars_x, bars_y, needles, surface, triangles)

int z_scale;//z scale (linear, log, sqrt)

int nodesx;//number of nodes in x dimension of grid

int nodesy;//number of nodes in y dimension of grid

int count_reg;//width between contours, applies only for contours display mode

int alfa;//angles of display,alfa+beta must be less or equal to 90, alpha- angle

//between base line of Canvas and left lower edge of picture picture

//base plane

int beta;//angle between base line of Canvas and right lower edge of picture base

//plane

int view_angle;//rotation angle of the view, it can be 0, 90, 180, 270 degrees

int levels;//# of color levels for rainbowed display modes, it does not apply for

//simple display modes algorithm group

float rainbow1_step;//determines the first component  step for neighbouring color

//levels, applies only for rainbowed display modes, it does not apply

//for simple display modes algorithm group

float rainbow2_step;//determines the second component  step for neighbouring

//color levels, applies only for rainbowed display modes, it does not

//apply for simple display modes algorithm group

float rainbow3_step;//determines the third component  step for neighbouring

//color levels, applies only for rainbowed display modes, it does not

//apply for simple display modes algorithm group

int color_alg;//applies only for rainbowed display modes (rgb smooth algorithm,

//rgb modulo color component, cmy smooth algorithm, cmy modulo

//color component, cie smooth algorithm, cie modulo color component,

//yiq smooth algorithm, yiq modulo color component, hsv smooth

//algorithm, hsv modulo color component, it does not apply for simple

//display modes algorithm group [15]

float l_h_weight;//weight between shading according to fictive light source and

//according to channels counts, applies only for

//PICTURE2_MODE_GROUP_LIGHT_HEIGHT modes group

int xlight;//x position of fictive light source, applies only for rainbowed display

//modes with shading according to light

int ylight;//y position of fictive light source, applies only for rainbowed display

//modes with shading according to light

int zlight;//z position of fictive light source, applies only for rainbowed display

//modes with shading according to light

int shadow;// determines whether shadow will be drawn (no shadow, shadow),

//for rainbowed display modes with shading according to light

int shading;//determines whether the picture will shaded, smoothed (no shading,

//shading), for rainbowed display modes only

int bezier;//determines Bezier interpolation (applies only for simple display

//modes group for grid, x_lines, y_lines display modes)

int border_color;//color of background of the picture

int full_border;// decides whether background is painted

int raster_en_dis;// decides whether the rasters are shown

int raster_long;// decides whether the rasters are drawn as long lines

int raster_color; //color of the rasters

char *raster_description_x;//x axis description

char *raster_description_y;//y axis description

char *raster_description_z;//z axis description

int pen_color;//color of spectrum

int pen_dash;//style of pen

int pen_width;//width of line

int chanmark_en_dis;// decides whether the channel marks are shown

int chanmark_style;//style of channel marks

int chanmark_width;//width of channel marks

int chanmark_height;//height of channel marks

int chanmark_color;//color of channel marks

int chanline_en_dis;//decides whether the channel lines (grid) are shown

/*auxiliary variables, transformation coefficients for internal use only*/

double kx;

double ky;

double mxx;

double mxy;

double myx;

double myy;

double txx;

double txy;

double tyx;

double tyy;

double tyz;

double vx;

double vy;

double nu_sli;

//auxiliary internal variables, working place

double z,zeq,gbezx,gbezy,dxspline,dyspline;

int xt,yt,xs,ys,xe,ye,priamka,z_preset_value;

unsigned short obal[MAXIMUM_XSCREEN_RESOLUTION];

unsigned short obal_cont[MAXIMUM_XSCREEN_RESOLUTION];

TPoint bz[4];

};

The examples using different display parameters are shown in the next few Figs.

Fig. 80

Fig. 80. display mode-bars, pen width=2

Fig. 81

Fig. 81 display mode-triangles, log scale

Fig. 82

Fig. 82 display mode-contours

Fig. 83

Fig. 83 display mode surface shading according to height

Fig. 84

Fig. 84 display mode-surface shading according to light point

Fig. 85

Fig. 85 display mode-surface shading according to height+light position with ratio 50:50, CMY color model

Fig. 86

Fig. 86 display mode bars shaded according to height

Fig. 87

Fig. 87 display mode- surface shading according to light position with shadows

Fig. 88

Fig. 88 display mode- surface shading according to height with 10 levels of contours

Fig. 89

Fig. 89 display mode- surface shading according to height, sqrt scale, channel marks and lines shown

Fig. 90

Fig. 90 display mode- surface shading according to height-contours, rasters allowing to localize interesting parts are shown.

The author would be grateful for any remarks, comments, suggestions concerning the material presented in this document.

References:

[1]  M. Morháč, J. Kliman, V. Matoušek, M. Veselský, I. Turzo.: Background elimination methods for multidimensional gamma-ray spectra. NIM, A401 (1997) 113-132.

[2]  C. G Ryan et al.: SNIP, a statistics-sensitive background treatment for the quantitative analysis of PIXE spectra in geoscience applications. NIM, B34 (1988), 396-402.

[3] D. D. Burgess, R. J. Tervo: Background estimation for gamma-ray spectroscopy. NIM 214 (1983), 431-434.

[4]  M. Morháč, J. Kliman, V. Matoušek, M. Veselský, I. Turzo.:Identification of peaks in multidimensional coincidence gamma-ray spectra. NIM, A443 (2000) 108-125.

[5] M.A. Mariscotti: A method for identification of peaks in the presence of background and its application to spectrum analysis. NIM 50 (1967), 309-320.

[6] Z.K. Silagadze, A new algorithm for automatic photopeak searches. NIM A 376 (1996), 451.

[7] P. Bandžuch, M. Morháč, J. Krištiak: Study of the VanCitter and Gold iterative methods of deconvolutionand their application in the deconvolution of experimental spectra of positron annihilation, NIM A 384 (1997) 506-515.

[8]  M. Morháč, J. Kliman, V. Matoušek, M. Veselský, I. Turzo.: Efficient one- and two-dimensional Gold deconvolution and its application to gamma-ray spectra decomposition. NIM, A401 (1997) 385-408.

[9] I. A. Slavic: Nonlinear least-squares fitting without matrix inversion applied to complex Gaussian spectra analysis. NIM 134 (1976) 285-289.

[10] B. Mihaila: Analysis of complex gamma spectra, Rom. Jorn. Phys., Vol. 39, No. 2, (1994), 139-148.

[11] T. Awaya: A new method for curve fitting to the data with low statistics not using chi-square method. NIM 165 (1979) 317-323.

[12] T. Hauschild, M. Jentschel: Comparison of maximum likelihood estimation and chi-square statistics applied to counting experiments. NIM A 457 (2001) 384-401.

[13]  M. Morháč,  J. Kliman,  M. Jandel,  Ľ. Krupa, V. Matoušek: Study of fitting algorithms applied to simultaneous analysis of large number of peaks in -ray spectra. Applied spectroscopy, Accepted for publication.

[14] C.V. Hampton, B. Lian, Wm. C. McHarris: Fast-Fourier-transform spectral enhancement techniques for gamma-ray spectroscopy. NIM A353 (1994) 280-284..

[15]  D. Hearn, M. P. Baker: Computer Graphics, Prentice-Hall International, Inc., 1994.